## Raumanforderungen_SOLL
Energiespar-Contracting ¦ ESGV, Anlage 5.1
Pflichtmaßnahmen
Raumanforderungen_SOLL
(Stand: xx.yy.zzzz)
Pos. | Name/Gebäudeart | Gebäudebereich / Sondernutzungen/ technische Anlagen | SOLL-Werte Winter |  | Regeltoleranzen klimatierter Bereiche Winter |  | Absenk- zeit(en) Mo-Do | Absenk- zeit(en) Fr | Absenk- zeit(en) Sa | Absenk- zeit(en) So | Absenk- temperatur | SOLL-Werte Sommer |  | Regeltoleranzen klimatierter Bereiche Sommer |  | Zeiten zulässige Temperatur-erhöhung | Luftwechselrate | Luftdruck Überdruck | Luftdruck Unterdruck | zul. CO2-Konzentration | zulässiger Schallpegel | Bemerkung
|  |  | T [°C] | r.F. [%] | ΔT [K] | Δ r.F. [%] | [xy.00 - xy.00] | [xy.00 - xy.00] | [xy.00 - xy.00] | [xy.00 - xy.00] | ΔT [°C] | T [°C] | r.F. [%] | ΔT [K] | Δ r.F. [%] | Werktag / Sonn-/Feiertag [xy.00 - xy.00] | 1/h | Pa | Pa | ppm | dB A
1 | Liegenschaft / Gebäude 1 | Übergreifend
2 |  | Zone 1
3 |  | Raum 1
4 |  | …
5 | Liegenschaft / Gebäude 2
6 | Liegenschaft / Gebäude 3
7 | Liegenschaft / Gebäude 4
Abkürzungen
|  | r.F. | relative Raumfeuchte
|  | Pa | Pascal
|  | ppm | parts per million
Eingabefeld Auftraggeber
Eingabefeld Bieter
berechnetes Feld
nicht benötigtes Feld
Note on C6: Grundsätzliche Vorgaben sowie - Sondernutzungen - Räume mit besonderen Raumluftkonditionen - abweichende Anforderungen an die technischen Anlagen zeitliche Vorgaben hinsichtlich der Regeltoleranzen sind zusätzlich anzugeben
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Absenkung=Verringerung der SOLL-Raumtemperaturen
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Absenkung=Verringerung der SOLL-Raumtemperaturen
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Absenkung=Verringerung der SOLL-Raumtemperaturen
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Absenkung=Verringerung der SOLL-Raumtemperaturen
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Absenkung=Verringerung der SOLL-Raumtemperaturen
Note on D7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Raum-Temperatur
Note on E7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Relative Raumfeuchte
Note on F7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Zulässige Abweichung zum Soll-Wert
Note on G7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Zulässige Abweichung zum Soll-Wert
Note on L7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Absenkung gegenüber Soll-Wert